**Supplementary table 1.** Reproducibility evaluation of SRM analysis using quality control sample

|  |  |  |  |
| --- | --- | --- | --- |
| **Acetylcarnitineconcentration** | **Mean** | **SDa** | **CV(%)b** |
| QCc Low (25 ng/mL) | 23.8 | 3.8 | 15.8 |
| QCc Medium (75 ng/mL) | 70.4 | 8.2 | 11.7 |
| QCc High (250 ng/mL) | 241.1 | 20.0 | 8.3 |

 aSD, standard deviation; bCV, coefficient of variation, cQC, quality control