## Used inputs
PV Plants economic assumptions | PV module cost | 0,84 $/W
| Balance of the system cost | 50%
| O&M cost | 5%
Electrolyzer technical and economic assumptions | Technology | PEM
| Efficieny | 75%
| Higher Heating Value of Hydrogen | 39,4 kWh/kg
| Lifetime | 7 years
| Electrolyzer specific energy requirement | 52.5 kWh/kg
| Electrolyzer cost per unit | 368 $/kW
| O&M costs | 2%
| Replacement cost | 25%
Project lifetime | 20 years
Discount rate | 6%

## Calculation results
NameStation | Lat_dec | Lon_dec | Altitude | Optimun inclination (º) | Annual Electricity production (GWh) | Annual Hydrogen production (tons) | Annual Hydrogen production (kg/kWp) | LCOH2 ($/kg) | LCOH2 (€/kg*)
Cabo Carvoeiro / Farol | 39.3614 | -9.407 | 32 | 30.8594 | 198.5427 | 3779.3654 | 31.4947 | 4.3327 | 3.9637
Sagres / Quartel da Marinha | 37.0128 | -8.9489 | 22.853 | 29.2388 | 230.4511 | 4386.7603 | 36.5563 | 3.7992 | 3.4756
Lisboa / Geofísico | 38.7191 | -9.1497 | 77 | 30.4162 | 192.2324 | 3659.246 | 30.4937 | 4.4592 | 4.0794
Sines / Monte Chãos | 37.9545 | -8.8383 | 103 | 29.8886 | 206.1282 | 3923.7608 | 32.698 | 4.1909 | 3.834
Porto / Pedras Rubras | 41.2323 | -8.6791 | 69 | 32.1503 | 190.1865 | 3620.3016 | 30.1692 | 4.502 | 4.1186
Coimbra / Aeródromo | 40.1576 | -8.4685 | 171 | 31.4087 | 189.3686 | 3604.7321 | 30.0394 | 4.5194 | 4.1345
Faro / Aeroporto | 37.0166 | -7.9719 | 5.003 | 29.2414 | 224.0488 | 4264.888 | 35.5407 | 3.8941 | 3.5624
Évora / Aeródromo | 38.5365 | -7.888 | 247.558 | 30.2902 | 202.0863 | 3846.8213 | 32.0568 | 4.2652 | 3.9019
Viseu / Aeródromo | 40.7148 | -7.8959 | 644.373 | 31.7932 | 194.1678 | 3696.0868 | 30.8007 | 4.4196 | 4.0431
Beja | 38.0257 | -7.8673 | 246 | 29.9378 | 210.7841 | 4012.3885 | 33.4366 | 4.1089 | 3.759
Vila Real / Aeródromo | 41.2742 | -7.7171 | 561 | 32.1792 | 169.6406 | 3229.1992 | 26.91 | 4.9892 | 4.5643
Penhas Douradas / Observatório | 40.4114 | -7.5587 | 1380 | 31.5838 | 205.2883 | 3907.7723 | 32.5648 | 4.2061 | 3.8479
Castelo Branco | 39.8394 | -7.4787 | 386 | 31.1892 | 208.9959 | 3978.3484 | 33.1529 | 4.14 | 3.7874
Portalegre | 39.2942 | -7.4213 | 597 | 30.813 | 192.121 | 3657.1265 | 30.4761 | 4.4615 | 4.0815
Bragança | 41.8039 | -6.7428 | 690 | 32.5447 | 192.0201 | 3655.2055 | 30.46 | 4.4636 | 4.0835
Lisboa / Gago Coutinho | 38.7662 | -9.1275 | 103.884 | 30.4487 | 196.0201 | 3731.3475 | 31.0946 | 4.3823 | 4.0091
Odemira / S.Teotónio | 37.547 | -8.7289 | 120.544 | 29.6074 | 210.0073 | 3997.6017 | 33.3133 | 4.1224 | 3.7713
Vila Nova de Cerveira / Aeródromo | 41.9731 | -8.6762 | 34 | 32.6615 | 176.22 | 3354.4424 | 27.9537 | 4.8209 | 4.4103
Monção / Valinha | 42.0734 | -8.381 | 80 | 32.7306 | 167.2595 | 3183.8733 | 26.5323 | 5.0535 | 4.6231
Lamas de Mouro | 42.043 | -8.1987 | 880 | 32.7096 | 171.5003 | 3264.5994 | 27.205 | 4.9403 | 4.5196
Montalegre | 41.8228 | -7.7879 | 1005 | 32.5577 | 169.8464 | 3233.1172 | 26.9426 | 4.9838 | 4.5593
Ponte de Lima / Escola Agrícola | 41.7638 | -8.5714 | 40 | 32.517 | 168.3783 | 3205.1707 | 26.7098 | 5.0231 | 4.5952
Chaves / Aeródromo | 41.7252 | -7.4654 | 360 | 32.4904 | 168.6911 | 3211.1258 | 26.7594 | 5.0146 | 4.5875
Cabril / S. Lourenço | 41.7097 | -8.027 | 585 | 32.4797 | 171.7084 | 3268.5606 | 27.238 | 4.9349 | 4.5146
Braga / Merelim | 41.5758 | -8.4511 | 68.351 | 32.3873 | 178.3213 | 3394.4403 | 28.287 | 4.7697 | 4.3635
Cabeceiras de Basto | 41.489 | -7.9795 | 350 | 32.3274 | 165.3034 | 3146.6379 | 26.222 | 5.1076 | 4.6726
Mirandela | 41.5148 | -7.1908 | 250 | 32.3452 | 183.3134 | 3489.4675 | 29.0789 | 4.6529 | 4.2566
Macedo de Cavaleiros / Izeda-Morais | 41.5677 | -6.7873 | 702 | 32.3817 | 192.7055 | 3668.2527 | 30.5688 | 4.4495 | 4.0705
Miranda do Douro | 41.4988 | -6.2715 | 693 | 32.3342 | 193.6024 | 3685.3252 | 30.711 | 4.4311 | 4.0537
Mogadouro | 41.3351 | -6.7263 | 644 | 32.2212 | 190.1477 | 3619.5619 | 30.163 | 4.5029 | 4.1194
Carrazêda de Ansiães | 41.243 | -7.2993 | 715 | 32.1576 | 180.268 | 3431.4982 | 28.5958 | 4.7234 | 4.3211
Porto / S.Gens | 41.1844 | -8.6445 | 89.191 | 32.1173 | 200.0226 | 3807.5376 | 31.7295 | 4.3042 | 3.9376
Moncorvo | 41.1899 | -7.0185 | 600 | 32.121 | 185.7784 | 3536.3904 | 29.4699 | 4.5975 | 4.2059
Pinhão | 41.1728 | -7.549 | 130 | 32.1092 | 168.7997 | 3213.1917 | 26.7766 | 5.0117 | 4.5849
Luzim | 41.1459 | -8.249 | 287.174 | 32.0906 | 176.9613 | 3368.5528 | 28.0713 | 4.8027 | 4.3936
Moimenta da Beira | 40.9857 | -7.6039 | 715 | 31.9801 | 175.6899 | 3344.3508 | 27.8696 | 4.834 | 4.4223
Trancoso / Bandarra | 40.7812 | -7.3574 | 840 | 31.839 | 203.2356 | 3868.6988 | 32.2392 | 4.2438 | 3.8823
Arouca | 40.9312 | -8.2549 | 340 | 31.9425 | 112.7839 | 2146.9024 | 17.8909 | 7.2628 | 6.6442
Arouca | 40.9269 | -8.2611 | 270 | 31.9396 | 105.5699 | 2009.5797 | 16.7465 | 7.7263 | 7.0683
Figueira de Castelo Rodrigo / V.Torpim | 40.8303 | -6.9408 | 635 | 31.8729 | 191.9989 | 3654.801 | 30.4567 | 4.4641 | 4.0839
Guarda | 40.5286 | -7.2787 | 1020 | 31.6647 | 208.1852 | 3962.9164 | 33.0243 | 4.1543 | 3.8004
Nelas | 40.5235 | -7.8555 | 425 | 31.6612 | 184.0719 | 3503.9065 | 29.1992 | 4.6357 | 4.2409
Pampilhosa da Serra | 40.1455 | -7.9271 | 835.588 | 31.4004 | 204.0608 | 3884.4062 | 32.3701 | 4.2285 | 3.8684
Covilhã | 40.2643 | -7.4822 | 482 | 31.4824 | 208.5045 | 3968.9945 | 33.075 | 4.1486 | 3.7953
Aldeia Souto / Quinta Lageosa | 40.3543 | -7.3893 | 468 | 31.5444 | 190.4565 | 3625.4403 | 30.212 | 4.4963 | 4.1134
Lousã / Aeródromo | 40.144 | -8.2448 | 193.769 | 31.3993 | 176.0181 | 3350.598 | 27.9216 | 4.8258 | 4.4148
Aveiro / Universidade | 40.6354 | -8.6596 | 5 | 31.7384 | 186.2463 | 3545.2973 | 29.5441 | 4.5871 | 4.1965
Dunas de Mira | 40.446 | -8.7616 | 14 | 31.6077 | 181.9684 | 3463.8651 | 28.8655 | 4.6837 | 4.2848
Anadia / Estação Vitivinícola da Bairrada | 40.4389 | -8.4399 | 45 | 31.6028 | 167.9267 | 3196.5749 | 26.6381 | 5.0353 | 4.6064
Coimbra / Bencanta | 40.2135 | -8.4552 | 35 | 31.4473 | 179.4875 | 3416.64 | 28.472 | 4.7418 | 4.338
Figueira da Foz / Vila Verde | 40.1398 | -8.8059 | 4 | 31.3964 | 193.6771 | 3686.7463 | 30.7229 | 4.4295 | 4.0523
Ansião | 39.8976 | -8.41 | 396.241 | 31.2293 | 184.7927 | 3517.6275 | 29.3136 | 4.6195 | 4.226
Leiria / Aeródromo | 39.7806 | -8.821 | 45 | 31.1486 | 179.7648 | 3421.9184 | 28.516 | 4.7353 | 4.332
São Pedro de Moel | 39.7636 | -9.0306 | 40 | 31.1369 | 197.0412 | 3750.7848 | 31.2565 | 4.3621 | 3.9906
Tomar / Vale Donas | 39.5921 | -8.3739 | 75.421 | 31.0186 | 192.7293 | 3668.7045 | 30.5725 | 4.449 | 4.07
Alcobaça / Estação Fruticultura Vieira Natividade | 39.548 | -8.9693 | 38 | 30.9881 | 191.1063 | 3637.8106 | 30.3151 | 4.4827 | 4.1009
Rio Maior / ETAR | 39.3139 | -8.9236 | 52.832 | 30.8266 | 187.7865 | 3574.6152 | 29.7885 | 4.5535 | 4.1656
Santarém / Fonte Boa Est. Zootécnica | 39.2013 | -8.7368 | 71.911 | 30.7489 | 184.0558 | 3503.6001 | 29.1967 | 4.636 | 4.2412
Torres Vedras / Dois Portos | 39.0439 | -9.179 | 110 | 30.6403 | 188.5482 | 3589.1146 | 29.9093 | 4.537 | 4.1506
Coruche / Estação de Regadio (INIA) | 38.9416 | -8.5131 | 18.754 | 30.5697 | 205.2776 | 3907.5682 | 32.5631 | 4.2063 | 3.8481
Santa Cruz / Aeródromo | 39.1257 | -9.3789 | 40.705 | 30.6967 | 205.977 | 3920.8822 | 32.674 | 4.1937 | 3.8365
Cabo da Roca | 38.7816 | -9.4975 | 141.231 | 30.4593 | 198.5313 | 3779.1487 | 31.4929 | 4.333 | 3.9639
Lisboa / Tapada da Ajuda | 38.7097 | -9.1828 | 69.956 | 30.4097 | 190.857 | 3633.0652 | 30.2755 | 4.4879 | 4.1057
Cabo Raso / Farol | 38.709 | -9.4854 | 7.879 | 30.4092 | 211.2077 | 4020.4512 | 33.5038 | 4.1017 | 3.7523
Barreiro / Lavradio | 38.6745 | -9.0476 | 6 | 30.3854 | 182.6591 | 3477.0141 | 28.9751 | 4.6678 | 4.2703
Pegões | 38.6508 | -8.635 | 64 | 30.369 | 200.4929 | 3816.4886 | 31.8041 | 4.2953 | 3.9294
Setúbal / Estação de Fruticultura | 38.5485 | -8.8908 | 35 | 30.2985 | 199.1125 | 3790.212 | 31.5851 | 4.3217 | 3.9536
Almada / Praia da Rainha | 38.617 | -9.2129 | 5.508 | 30.3457 | 195.4006 | 3719.5543 | 30.9963 | 4.3947 | 4.0204
Alcácer do Sal - Barrosinha | 38.3636 | -8.4816 | 29 | 30.1709 | 199.5635 | 3798.7971 | 31.6566 | 4.313 | 3.9457
Alvalade | 37.9468 | -8.3944 | 46.972 | 29.8833 | 192.4241 | 3662.8947 | 30.5241 | 4.4553 | 4.0758
Zambujeira | 37.582 | -8.7429 | 67 | 29.6316 | 189.6588 | 3610.2563 | 30.0855 | 4.5132 | 4.1288
Aljezur | 37.3255 | -8.8016 | 11.954 | 29.4546 | 206.5759 | 3932.2827 | 32.769 | 4.1829 | 3.8266
Foía | 37.3143 | -8.5957 | 895.302 | 29.4469 | 204.2816 | 3888.6089 | 32.4051 | 4.2245 | 3.8647
Sabugal / Martim Rei | 40.3392 | -7.0369 | 858 | 31.534 | 208.9763 | 3977.9749 | 33.1498 | 4.1403 | 3.7877
Zebreira | 39.8496 | -7.0686 | 374 | 31.1962 | 200.1721 | 3810.3833 | 31.7532 | 4.3014 | 3.935
Proença-a-Nova / Moitas | 39.7286 | -7.8706 | 379 | 31.1127 | 204.7268 | 3897.083 | 32.4757 | 4.2163 | 3.8572
Alvega | 39.4611 | -8.027 | 51.048 | 30.9281 | 197.0557 | 3751.0608 | 31.2588 | 4.3618 | 3.9903
Avis / Benavila | 39.1068 | -7.8775 | 152.253 | 30.6837 | 197.5417 | 3760.311 | 31.3359 | 4.3523 | 3.9816
Mora | 38.9407 | -8.164 | 129.45 | 30.5691 | 165.4544 | 3149.5126 | 26.2459 | 5.1034 | 4.6687
Elvas / Est. Melhoramento Plantas | 38.8896 | -7.1409 | 209.969 | 30.5338 | 206.005 | 3921.415 | 32.6785 | 4.1931 | 3.836
Estremoz / Techocas | 38.8621 | -7.5128 | 366 | 30.5149 | 211.6529 | 4028.9249 | 33.5744 | 4.094 | 3.7454
Reguengos / S.Pedro do Corval | 38.4848 | -7.4729 | 265.168 | 30.2545 | 193.6135 | 3685.5356 | 30.7128 | 4.4308 | 4.0535
Viana do Alentejo | 38.3319 | -8.0455 | 202 | 30.149 | 194.6317 | 3704.9191 | 30.8743 | 4.4102 | 4.0346
Amareleja | 38.205 | -7.2129 | 192 | 30.0614 | 191.4432 | 3644.2241 | 30.3685 | 4.4756 | 4.0944
Amareleja | 38.2007 | -7.2261 | 180 | 30.0585 | 166.5631 | 3170.6173 | 26.4218 | 5.0726 | 4.6405
Mértola / Vale Formoso | 37.7575 | -7.5515 | 190 | 29.7527 | 204.1893 | 3886.8518 | 32.3904 | 4.2262 | 3.8662
Castro Verde / Neves Corvo | 37.5765 | -7.9722 | 225 | 29.6278 | 199.9871 | 3806.8617 | 31.7238 | 4.3049 | 3.9383
Castro Marim / Reserva Nacional do Sapal | 37.2296 | -7.4259 | 4.832 | 29.3884 | 217.1074 | 4132.755 | 34.4396 | 4.0032 | 3.6623
Portimão / Aeródromo | 37.1475 | -8.5833 | 2 | 29.3318 | 210.2497 | 4002.2144 | 33.3518 | 4.1182 | 3.7674
*Conversion up-dated on 30 of November 2023